## Sheet0
SAMPLE
Sample type
EXPERIMENTAL_STEP
$ | Auto generate code | Identifier | Code | Space | Project | Experiment | Parents | Children | Name | Show in project overview | Experiment completed | Start date | End date | Experimental goals | Experimental description | Experimental results | Spreadsheet | References | Publication | Notes | Comments
| FALSE | /X.1_EBAMUSER/MATERIAL_SYNTHESIS/EXP1392 | EXP1392 | X.1_EBAMUSER | /X.1_EBAMUSER/MATERIAL_SYNTHESIS | /X.1_EBAMUSER/MATERIAL_SYNTHESIS/PARAMETER_2 |  | /X.1_EBAMUSER/MATERIAL_SYNTHESIS/EXP1506 | Microstructure Characterization | true |  |  |  | <p>To characterize the microstructural features of materials (µm–sub-µm scale), including morphology, phase distribution, and defect structures, to support understanding of structure–property relationships.</p> | <h4><strong>Safety Precautions</strong></h4><ul><li>Wear appropriate PPE depending on technique.</li><li>Follow instrument-specific safety procedures.</li><li>Handle samples carefully to avoid contamination or damage.</li><li>Be aware of vacuum systems, electron beams, or laser sources (if applicable).</li></ul><h4><strong>Characterization Workflow</strong></h4><h4><strong>1. Sample Preparation</strong></h4><ol><li>Select sample(s) from prior step (e.g., synthesis or pre-treatment).</li><li>Prepare sample</li><li>Assign sample identifier and link to parent material.</li></ol><h4><strong>2. Measurement Setup</strong></h4><ol><li>Select characterization technique(s):<ul><li>Scanning electron microscopy (SEM)</li><li>Optical microscopy</li><li>Atomic force microscopy (AFM)</li><li>Profilometry</li></ul></li><li>Configure instrument parameters:<ul><li>Magnification / resolution</li><li>Beam or probe settings</li><li>Scan area</li></ul></li><li>Calibrate instrument if required.</li></ol><h4><strong>3. Data Acquisition</strong></h4><ol><li>Load sample and locate region(s) of interest.</li><li>Acquire images at multiple magnifications.</li><li>Capture additional signals (if applicable):<ul><li>Secondary electrons / backscattered electrons</li><li>Topography maps</li></ul></li><li>Record acquisition parameters for each dataset.</li><li>Perform replicate measurements (n ≥ ___).</li></ol><h4><strong>4. Data Processing</strong></h4><ol><li>Process images:<ul><li>Contrast and brightness adjustment</li><li>Noise filtering</li></ul></li><li>Analyze microstructural features:<ul><li>Grain size and distribution</li><li>Phase contrast / phase boundaries</li><li>Surface roughness</li><li>Defects (cracks, voids, inclusions)</li></ul></li><li>Quantify features using image analysis tools.</li></ol><h4><strong>5. Result Validation</strong></h4><ol><li>Compare results across different regions and samples.</li><li>Identify potential artifacts:<ul><li>Charging effects</li><li>Surface contamination</li><li>Preparation-induced damage</li></ul></li><li>Cross-check with complementary techniques if available.</li></ol><h4><strong>6. Data Storage &amp; Linking</strong></h4><ol><li>Store raw and processed images.</li><li>Link datasets to:<ul><li>Parent synthesis or treatment step</li><li>Related macrostructure and TEM data</li></ul></li><li>Ensure metadata completeness and traceability.</li></ol><h4><strong>Experimental Parameters (Key Variables)</strong></h4><ul><li>Characterization technique</li><li>Magnification range</li><li>Sample preparation method</li><li>Instrument configuration</li><li>Scan area / resolution</li><li>Number of replicates</li></ul> | <h4><strong>Microstructure Metrics (Examples)</strong></h4><ul><li>Grain size (µm)</li><li>Phase distribution (%)</li><li>Surface roughness (µm or nm)</li><li>Feature size distribution</li><li>Defect density (cracks, pores, inclusions)</li><li>Interface characteristics</li></ul><h4>Experimental results</h4><figure class="table"><table><thead><tr><th>Sample ID</th><th>Technique</th><th>Feature</th><th>Value</th><th>Unit</th><th>Notes</th></tr></thead><tbody><tr><td>Sample-1</td><td>&nbsp;</td><td>&nbsp;</td><td>&nbsp;</td><td>&nbsp;</td><td>&nbsp;</td></tr><tr><td>Sample-2</td><td>&nbsp;</td><td>&nbsp;</td><td>&nbsp;</td><td>&nbsp;</td><td>&nbsp;</td></tr></tbody></table></figure><h4>Data Analysis Table (Example)</h4><figure class="table"><table><thead><tr><th>Parameter</th><th>Method</th><th>Value</th><th>Std. Dev.</th><th>Unit</th></tr></thead><tbody><tr><td>Grain size</td><td>Image analysis</td><td>&nbsp;</td><td>&nbsp;</td><td>µm</td></tr><tr><td>Roughness</td><td>Profilometry</td><td>&nbsp;</td><td>&nbsp;</td><td>nm</td></tr><tr><td>Porosity</td><td>Image analysis</td><td>&nbsp;</td><td>&nbsp;</td><td>%</td></tr></tbody></table></figure><h4><strong>Image Acquisition Log (Example)</strong></h4><figure class="table"><table><thead><tr><th>Image ID</th><th>Magnification</th><th>Technique</th><th>Region</th><th>Notes</th></tr></thead><tbody><tr><td>Img-1</td><td>&nbsp;</td><td>&nbsp;</td><td>&nbsp;</td><td>&nbsp;</td></tr></tbody></table></figure><h4><strong>Data Storage &amp; Linking</strong></h4><ul><li>Raw image files</li><li>Processed datasets</li><li>Analysis outputs</li></ul><p>Linked to:</p><ul><li>Parent synthesis step</li><li>Chemical pre-treatment step (if applicable)</li><li>Macrostructure characterization</li><li>TEM characterization</li></ul><p>&nbsp;</p> |  | <ul><li>Standard characterization methods (ISO, ASTM)</li><li>Instrument manuals</li><li>Internal SOPs</li><li>Literature references</li></ul> |  | <p>Free text for interpretation, anomalies, or correlations with synthesis and treatment parameters.</p>
| FALSE | /X.1_EBAMUSER/MATERIAL_SYNTHESIS/EXP1506 | EXP1506 | X.1_EBAMUSER | /X.1_EBAMUSER/MATERIAL_SYNTHESIS | /X.1_EBAMUSER/MATERIAL_SYNTHESIS/PAREMETER_STRUCTURE | /X.1_EBAMUSER/MATERIAL_SYNTHESIS/EXP1392 |  | Microstructure data analysis |  |  |  |  | <p>To analyze and interpret data obtained from microstructure characterization in order to quantify relevant structural features, identify trends, compare samples, and support structure–property correlations.</p> | <p>Template for documenting workflows for the analysis of microstructural datasets derived from imaging and related measurements.</p><p>This template supports:</p><ul><li>Quantitative feature extraction</li><li>Statistical analysis of replicate data</li><li>Comparison across samples, treatments, and batches</li><li>Traceable linkage between raw data, processed data, and conclusions<br><br>Notes</li><li>Ensure secure handling of data and metadata.</li><li>Follow institutional policies for software use, data storage, and version control.</li></ul><h4><strong>Analysis Workflow</strong></h4><h4><strong>1. Input Data Selection</strong></h4><ol><li>Select dataset(s) from previous microstructure characterization step.</li><li>Record linked parent data:<ul><li>Raw image files</li><li>Processed image files</li><li>Measurement logs</li></ul></li><li>Verify dataset completeness and metadata integrity.</li><li>Assign analysis identifier and link to source characterization step.</li></ol><h4><strong>2. Data Pre-Processing</strong></h4><ol><li>Import raw or processed data into analysis environment.</li><li>Apply pre-processing as required:<ul><li>Cropping</li><li>Background correction</li><li>Noise reduction</li><li>Contrast normalization</li></ul></li><li>Record all pre-processing parameters.</li><li>Preserve original raw data unchanged.</li></ol><h4><strong>3. Feature Extraction</strong></h4><ol><li>Define target microstructural features for extraction:<ul><li>Grain size</li><li>Feature size distribution</li><li>Phase fraction</li><li>Porosity / void fraction</li><li>Crack density</li><li>Inclusion density</li><li>Interface characteristics</li></ul></li><li>Apply analysis method:<ul><li>Thresholding</li><li>Segmentation</li><li>Edge detection</li><li>Region labeling</li><li>Manual annotation</li></ul></li><li>Extract quantitative values for each region/sample.</li><li>Record software, algorithm, and parameter settings used.</li></ol><h4><strong>4. Statistical Analysis</strong></h4><ol><li>Aggregate measurements across replicates and regions of interest.</li><li>Calculate descriptive statistics:<ul><li>Mean</li><li>Median</li><li>Standard deviation</li><li>Minimum / maximum</li></ul></li><li>Identify outliers and document treatment of outliers.</li><li>Compare groups by sample, synthesis condition, or treatment condition.</li></ol><h4><strong>5. Interpretation and Correlation</strong></h4><ol><li>Interpret extracted microstructural metrics in the context of:<ul><li>Synthesis conditions</li><li>Chemical pre-treatment</li><li>Macrostructure characterization</li></ul></li><li>Identify observed trends and anomalies.</li><li>Document possible relationships between microstructure and expected material properties.</li><li>Record limitations of the analysis.</li></ol><h4><strong>6. Validation</strong></h4><ol><li>Verify reproducibility of extracted results across replicates.</li><li>Cross-check selected results with manual review or alternative method.</li><li>Document analysis uncertainty and possible sources of error:<ul><li>Image quality</li><li>Segmentation sensitivity</li><li>Region selection bias</li></ul></li><li>Confirm traceability to original datasets.</li></ol><h4><strong>7. Data Storage &amp; Linking</strong></h4><ol><li>Store analysis scripts, parameter sets, processed outputs, and summary tables.</li><li>Link analysis results to:<ul><li>Parent microstructure characterization step</li><li>Related macrostructure and TEM characterization steps</li><li>Parent synthesis and treatment steps</li></ul></li><li>Ensure metadata completeness and versioning.</li></ol> | <p>&nbsp;</p><p>Experimental results</p><figure class="table"><table><thead><tr><th>Sample ID</th><th>Feature</th><th>Mean Value</th><th>Std. Dev.</th><th>Unit</th><th>Notes</th></tr></thead><tbody><tr><td>Sample-1</td><td>Grain size</td><td>&nbsp;</td><td>&nbsp;</td><td>µm</td><td>&nbsp;</td></tr><tr><td>Sample-1</td><td>Porosity</td><td>&nbsp;</td><td>&nbsp;</td><td>%</td><td>&nbsp;</td></tr><tr><td>Sample-2</td><td>Crack density</td><td>&nbsp;</td><td>&nbsp;</td><td>1/mm²</td><td>&nbsp;</td></tr></tbody></table></figure><h4><strong>Analysis Metrics (Examples)</strong></h4><ul><li>Grain size distribution</li><li>Feature aspect ratio</li><li>Phase fraction (%)</li><li>Porosity / void fraction (%)</li><li>Inclusion count per area</li><li>Crack length density</li><li>Surface feature coverage</li><li>Interface density</li></ul><figure class="table"><table><thead><tr><th>Dataset ID</th><th>Processing Step</th><th>Method</th><th>Parameters</th><th>Notes</th></tr></thead><tbody><tr><td>Data-1</td><td>Noise reduction</td><td>&nbsp;</td><td>&nbsp;</td><td>&nbsp;</td></tr><tr><td>Data-1</td><td>Segmentation</td><td>&nbsp;</td><td>&nbsp;</td><td>&nbsp;</td></tr></tbody></table></figure><h4><strong>Statistical Summary Table</strong></h4><figure class="table"><table><thead><tr><th>Parameter</th><th>n</th><th>Mean</th><th>Median</th><th>Std. Dev.</th><th>Min</th><th>Max</th><th>Unit</th></tr></thead><tbody><tr><td>Grain size</td><td>&nbsp;</td><td>&nbsp;</td><td>&nbsp;</td><td>&nbsp;</td><td>&nbsp;</td><td>&nbsp;</td><td>µm</td></tr><tr><td>Porosity</td><td>&nbsp;</td><td>&nbsp;</td><td>&nbsp;</td><td>&nbsp;</td><td>&nbsp;</td><td>&nbsp;</td><td>&nbsp;</td></tr></tbody></table></figure><p>&nbsp;</p><h4><strong>Interpretation Notes</strong></h4><ul><li>Main trends observed:</li><li>Comparison between samples:</li><li>Correlation with prior synthesis or treatment parameters:</li><li>Uncertainty / confidence level:</li></ul><h4><strong>References</strong></h4><ul><li>Image analysis methods</li><li>Internal SOPs</li><li>Software documentation</li><li>Literature references</li></ul> |  | <ul><li>Image analysis methods</li><li>Internal SOPs</li><li>Software documentation</li><li>Literature references</li><li><mark class="marker-yellow">Git repository link?</mark></li></ul> |  | <p>Free text for interpretation, anomalies, or follow-up recommendations</p>